FESHM 4180:

ASBESTOS MANAGEMENT PROGRAM

**Revision History**

|  |  |  |
| --- | --- | --- |
| **Author** | **Description of Change** | **Revision Date** |
| Thomas Gibbs | * Updated job titles and Fermilab organizational structure titles. Changes were editorial in nature with no changes to policies or procedures.
* SURF applicability determination.
 | January 2018 |
| Thomas Gibbs | Five year review of chapter 4180 using the new FESHM template. Changes were editorial in nature with no changes to policies or procedures. | March 2014 |

**TABLE OF CONTENTS**

[1.0 INTRODUCTION AND SCOPE 3](#_Toc504662469)

[2.0 DEFINITIONS 3](#_Toc504662470)

[3.0 ROLES AND RESPONSIBILITIES 4](#_Toc504662471)

[3.1 The Division/Section (D/S) Heads 4](#_Toc504662472)

[3.2 Task Managers/Construction Coordinators 5](#_Toc504662473)

[3.3 The ESH&Q Section 5](#_Toc504662474)

[3.4 The Asbestos Subcontractor 5](#_Toc504662475)

[4.0 PROGRAM DESCRIPTION 5](#_Toc504662476)

[5.0 APPLICABLE STANDARDS 8](#_Toc504662477)

# INTRODUCTION AND SCOPE

Exposure to asbestos increases the risk of developing lung disease. It has been a component of a variety of building products, especially those made prior to 1980. These products are not health hazards unless they are damaged and can release asbestos fibers. This chapter establishes (1) work practices to maintain asbestos containing building materials in good condition and to ensure the clean-up, repair and/or removal of damaged material, and (2) training requirements for those employees who may be exposed to asbestos containing material.

Asbestos identification, management, and removal activities in Fermilab leased spaces fall under the rules and regulations developed and enforced by the partnering institution.

# DEFINITIONS

**Asbestos** is a term used to describe naturally occurring fibrous silicate minerals. This includes chrysotile, amosite and crocidolite.

**Asbestos Containing Building Material (ACBM)** is building material that contains 1% or more of asbestos.

**Building Inspector** is one who has passed an EPA accredited Building Inspector class, and is licensed by the Illinois Department of Public Health.

**Class I asbestos work** means activities involving the removal of asbestos containing surfacing material or thermal system insulation.

**Class II asbestos work** means activities involving the removal of asbestos containing materials which are not thermal system insulation or surfacing material. This includes, but is not limited to, the removal of asbestos-containing wallboard, floor tile and sheeting, roofing and siding shingles, and construction mastics.

**Class III asbestos work** is repair and maintenance operations involving asbestos containing materials.

**Class IV asbestos work** means maintenance and custodial activities during which employees contact but do not disturb asbestos containing materials and activities to clean up dust, waste and debris resulting from Class I, Class II, and Class III activities.

**EPA Accredited Training** is accredited training class per the Asbestos School Hazard Abatement Reauthorization Act (ASHARA) EPA Model Accreditation Plan.

**Encapsulation** is treatment of ACBM with a material that surrounds or embeds asbestos fibers with an adhesive matrix to prevent the release of fibers.

**Enclosure** is an airtight, impermeable barrier around ACBM to prevent the release of fibers.

**Fiber** is a particulate form of asbestos, 5 micrometers or longer, with a length‑to‑diameter ratio of at least 3 to 1.

**Fiber Release Episode** is any uncontrolled or unintentional disturbance of ACBM resulting in visible emission.

**Friable** is material that when dry may be crushed, pulverized, or reduced to a powder by applying hand pressure.

**Inspection** is those activities undertaken to specifically determine the presence or location, or to assess the condition of ACBM (this does not include visual inspections or air monitoring).

**Presumed Asbestos Containing Material** is thermal system insulation and surfacing material found in buildings constructed no later than 1980.

**Repair** means returning damaged ACBM to an undamaged condition or to an intact state so as to prevent fiber release.

**Response Action** is any method of controlling friable ACBM including removal, encapsulation, enclosure, repair, and asbestos maintenance program.

**Surfacing Material** is material that is sprayed, troweled-on, or otherwise applied to surfaces (such as acoustical plaster on ceilings and fireproofing materials on structural members, or other materials on surfaces for acoustical, fireproofing, and other purposes).

**Thermal System Insulation** is insulation applied to pipes, fittings, boilers, breeching, tanks, ducts or other structural components to prevent heat loss or gain.

**Work Area Surveillance** is visual examination of ACBM to determine condition. Air samples may supplement the visual examination.

# ROLES AND RESPONSIBILITIES

## The Division/Section (D/S) Heads

* Assure that ESH&Q is notified of any Class I-IV work that needs to be performed.
* Assure the Division Safety Officer (DSO) is notified of any projects (i.e. boiler/furnace work, work on pipe insulation) involving the disturbance of known or presumed ACBM.
* Assure that all presumed ACBM is identified in the asbestos inventory, and a response action has been selected. This inventory shall be updated annually.
* Assure that Fermilab employees or subcontractors whose work may disturb ACBM are informed of its presence, location and quantity.
* Assure visual inspection of friable ACBM is performed annually and that results shall be maintained in a surveillance log.
* Assure that Fermilab personnel whose work may cause them to disturb ACBM or who may be potentially exposed to asbestos fibers receive asbestos awareness training upon initial assignment.

## Task Managers/Construction Coordinators

* Immediately contact the ESH&Q Section if subcontractors encounter material that may potentially contain asbestos (see [FESHM 8021 Chemical and Radioactive Waste Management](https://esh-docdbcert.fnal.gov/cgi-bin/cert/ShowDocument?docid=536)).

## The ESH&Q Section

* Provide trained personnel to act as Task Manager for the removal, repair, enclosure, encapsulation, or clean-up of asbestos containing materials.
* Preparing the Work Notification and Hazard Analysis and auditing the subcontractor per [FESHM 7010 Construction ES&H Program](https://esh-docdbcert.fnal.gov/cgi-bin/cert/ShowDocument?docid=415) to assure that work by subcontractor is performed in accordance with OSHA and EPA regulations.
* Provide for third party monitoring, in the event that the scope of the abatement job is great enough to warrant such additional precautions.
* Develop and maintain a site-wide asbestos inventory database. The inventory shall include the location of the material and an assessment of the condition of the material.
* Maintain general asbestos awareness training and provide training upon request.
* Disposing of asbestos materials that have been removed (see [FESHM 8021](https://esh-docdbcert.fnal.gov/cgi-bin/cert/ShowDocument?docid=536)).

## The Asbestos Subcontractor

* Performing work in accordance with OSHA, EPA, and Fermilab requirements.
* Submitting written hazard analysis for asbestos removal activities.
* Providing all records regarding the specific abatement job, including air monitoring results and training records of all subcontractor personnel involved.

# PROGRAM DESCRIPTION

All employees, contractors, subcontractors, and visitors whose work activities may disturb asbestos-containing materials shall comply with this chapter.

The Environment, Safety, Health & Quality Section shall coordinate all asbestos removal, repair, enclosure, encapsulation, or clean-up activities. In an emergency situation, Fermilab employees may be assigned Class III or Class IV asbestos work. This will be done **only** after consultation with the ESH&Q Section.

All subcontractor employees conducting Class I or Class II work shall be trained according to Occupational, Safety and Health Administration (OSHA) regulations title 29 Code of Federal Regulations 29 CFR 1910.1001 or 29 CFR 1926.1101, certified in asbestos abatement by an Environmental Protection Agency (EPA) Accredited Training organization, and licensed by the Illinois Department of Public Health (IDPH).

1. **Inspection**

The divisions/sections must identify presumed ACBM in their areas. Thermal system insulation, sprayed or troweled on surfacing material and asphalt and vinyl flooring material installed no later than 1980 are presumed to be asbestos containing building materials. To determine if a material contains asbestos, the division/section shall contact the DSO or ESH&Q for an inspection. The inspection shall follow the *Industrial Hygiene Bulk Sampling in Asbestos Containing Materials* procedure and be conducted or supervised by an EPA certified and State of Illinois licensed inspector.

The inspector shall take a bulk sample(s) of the material, determine if the material is friable, and assess if the material is damaged or has a potential for damage. This information will be recorded in the Industrial Hygiene Sampling Report database and asbestos inventory.

1. **Inventory**

The ESH&Q Section shall maintain an inventory of all known ACBM locations for their division/section facilities. Each D/S shall update the inventory as needed (e.g., damage noted during surveillance, material removed, etc.).

1. **Surveillance**

Each division/section shall visually inspect all friable ACBM materials or barrierannually. Air sampling may be used to supplement the visual inspection. The surveyor shall note the date of the surveillance, name of surveyor, and any changes in the condition of the material. If conditions have changed significantly, a response action shall be initiated.

1. **Response Actions**

Once ACBM has been identified, a response action must be selected that is sufficient to protect human health and the environment. The DSO or ESH&Q can provide consultation on available response actions. The division/section shall select the most cost-effective solution. The response actions are removal, encapsulation, enclosure, repair or a maintenance program (visual inspection, labeling, awareness training, etc.).

Removal, encapsulation, enclosure and repairs must be done by specially trained workers and follow OSHA and EPA regulations. Due to the complexity of these regulations, the ESH&Q Section shall coordinate these activities.

The ESH&Q Section shall notify the Occupational Medicine Office if any Fermilab employees are assigned to perform Class III, or Class IV work.

In the event of a fiber release episode, a response action shall be initiated to prevent future episodes.

1. **Labels**
	1. Labels shall be affixed to all friable ACBM. Labels shall be printed in large, bold letters on a contrasting background. The label shall contain the following information:

**DANGER**

**CONTAINS ASBESTOS FIBERS**

 **AVOID CREATING DUST**

**CANCER AND LUNG DISEASE HAZARD**

1. The number and location of these labels is at the discretion of the division/section. The entrance to mechanical rooms/areas in which employees reasonably can be expected to enter and which contain ACBM, may be posted with signs in lieu of labels, which identify the material which is present, its location, and appropriate work practices which, if followed, will ensure that ACBM will not be disturbed.
2. Labels indicating that the building is not asbestos-free may also be affixed to the material.
3. **Training**
	1. Awareness training must be given to personnel who may inadvertently disturb asbestos containing building materials.
		1. The training must be given upon initial assignment. It may be incorporated into other training such as Hazard Communication training; however, the asbestos portion must be documented.
		2. Training shall include, but not be limited to:
			* Information regarding asbestos and its various uses and forms.
			* Information on the health effects associated with asbestos exposure.
			* Locations of ACBM in their work area which have the potential to release fibers if disturbed.
* Recognition of damaged, deteriorated, and delaminated ACBM.
	+ - * Requirements for providing good housekeeping.
* Identification of ESH&Q personnel responsible for asbestos program.
	1. Personnel involved in Class III and Class IV work must receive training per OSHA and EPA requirements, and be licensed by the Department of Public Health.

# APPLICABLE STANDARDS

29 CFR 1910.1001, OSHA General Industry Standard

29 CFR 1926.1101, OSHA Construction Standard

40 CFR Part 61, Subpart M, National Emission Standards for Hazardous Air Pollutants (NESHAP)

40 CFR 763, Asbestos Hazard Emergency Response Act (AHERA/ASHARA)

[FESHM 7010](https://esh-docdbcert.fnal.gov/cgi-bin/cert/ShowDocument?docid=415), ES&H Program for Construction

[FESHM 8021](https://esh-docdbcert.fnal.gov/cgi-bin/cert/ShowDocument?docid=536), Chemical and Radioactive Waste Management

State of Illinois:

1. Schools Asbestos Abatement Act (105 Illinois Compiled Statutes [ILCS] 105)
2. Commercial and Public Building Asbestos Abatement Act (225 ILCS 207)
3. Rules for Asbestos Abatement for Public and Private Schools and Commercial and Public Buildings in Illinois Title 77 Public Health Illinois Administrative Code 855.